**Quick Check List:**
Evaluating Stormwater Compliance Risk on Your Jobsite

* Are your Construction General Permit postings in place on a sign near the entrance to your jobsite?
	+ - Are they correct and have the correct elections for your site been made (Phase 1, Phase 2, Common Plan of Development, etc.)?
* Are sub-specification materials used in your Silt Fence?
	+ - <7-gram fabric (you shouldn’t be able to see through it)
		- > 14-gauge wire supporting mesh
* Are practices which are not functional for the purpose for which they’re utilized in use on your site?
	+ - Fabric instead of an IPB under inlet grates does not filter incoming stormwater nor allow enough water through to prevent flooding your site.
		- They are inevitably removed, disabled, or purposely punctured at the first significant rain event, thereby creating a Clean Water Act violation, and a failed BMP that requires replacement.
* Are complete, documented inspections carried out by a ‘qualified’ person on a regular 7-day cycle?
	+ - Are all the weekly Inspection Reports complete, not pencil-whipped, and are they all there, stored with your SWPPP Narrative Plan?
		- Has the Narrative Plan been updated regularly, as needed, to reflect changes to the site?
* Is a poorly designed/maintained, or smaller than spec, Stabilized Construction Exit allowing vehicle to track dirt and mud from your site?
* If dewatering is taking place on your site, where does the effluent go? Is it going offsite/onsite and into an inlet or drainage ditch without treatment?
* Are Port-a-Potties, concrete washouts, or stored chemical containers/bags located in a drainage area for a nearby inlet or ditch

|  |
| --- |
| **e-Book:**Top Ten SWPPP Compliance IssuesLearn the top ten most important issues you should be concerned with regarding construction site stormwater discharge regulations on a federal, state and local level.In addition:• 5 most important BMPs to keep your job site compliant• The violations enforcement officers have zero tolerance forWith an understanding of the basics, and attention to detail, this top ten will go a long way towards ensuring your project is compliant with stormwater regulations.[DOWNLOAD THE E-BOOK](https://ulrbi3gs84t2i973c1o5xaxg-wpengine.netdna-ssl.com/wp-content/uploads/2019/06/top-10-swppp-compliance-considerations-ebook-v1.pdf) |